## Data
battery_id | chemistry | nominal_voltage_V | rated_capacity_Ah | state_of_charge_percent | state_of_health_percent | temperature_C | internal_resistance_mOhm | cycle_count | age_years | cell_voltage_imbalance_mV | max_temperature_last_24h_C | estimated_available_energy_kWh | station_status | hard_cutoff_status | composite_risk_score | risk_tier | isolate_trigger_reason
BAT-001 | LFP | 48 | 40 | 73.2 | 81.4 | 30.4 | 50.3 | 1080 | 0.78 | 56.9 | 36.6 | 1.144 | AVAILABLE | DEGRADE/USE | 50.2372 | Moderate Risk
BAT-002 | LFP | 48 | 40 | 62 | 88.9 | 26.8 | 52.2 | 231 | 1.47 | 23.1 | 28.6 | 1.059 | AVAILABLE | SAFE | 32.1062 | Low Risk
BAT-003 | LFP | 48 | 40 | 77.5 | 69 | 21.4 | 68.7 | 1317 | 3.82 | 67.6 | 26.5 | 1.027 | AVAILABLE | DEGRADE/USE | 71.7796 | High Risk
BAT-004 | LFP | 48 | 40 | 85.6 | 82.8 | 35.3 | 64.7 | 442 | 4.26 | 42.5 | 42.1 | 1.362 | AVAILABLE | SAFE | 50.6047 | Moderate Risk
BAT-005 | LFP | 48 | 40 | 58.8 | 80 | 23.1 | 55 | 1078 | 0.94 | 50.4 | 25.9 | 0.903 | AVAILABLE | DEGRADE/USE | 50.5353 | Moderate Risk
BAT-006 | LFP | 48 | 40 | 81.4 | 75.8 | 29.3 | 57.1 | 673 | 3.58 | 75 | 33.5 | 1.185 | AVAILABLE | DEGRADE/USE | 60.6824 | Moderate Risk
BAT-007 | LFP | 48 | 40 | 49 | 95 | 38.1 | 33.6 | 177 | 1.76 | 12 | 38.7 | 0.895 | AVAILABLE | SAFE | 21.5946 | Low Risk
BAT-008 | LFP | 48 | 40 | 99 | 72 | 49 | 84 | 1551 | 1.08 | 91 | 43.2 | 0.694 | REVIEW/QUARANTINE | ISOLATE | 81.6071 | High Risk | High IR; High Imbalance; High Temp;
BAT-009 | LFP | 48 | 40 | 83 | 78.7 | 33 | 62.8 | 874 | 0.67 | 60.4 | 34.2 | 1.255 | AVAILABLE | DEGRADE/USE | 55.8944 | Moderate Risk
BAT-010 | LFP | 48 | 40 | 67.7 | 96 | 23.5 | 45.5 | 293 | 0.67 | 19.3 | 30.1 | 1.247 | AVAILABLE | SAFE | 22.5001 | Low Risk
BAT-011 | LFP | 48 | 40 | 55.9 | 71.6 | 30.9 | 64.5 | 1590 | 2.42 | 55.9 | 35.3 | 0.768 | AVAILABLE | DEGRADE/USE | 67.4842 | High Risk
BAT-012 | LFP | 48 | 40 | 79 | 76.3 | 31.9 | 73 | 1377 | 0.76 | 49.7 | 34.5 | 1.158 | AVAILABLE | DEGRADE/USE | 61.7015 | Moderate Risk
BAT-013 | LFP | 48 | 40 | 86.2 | 92.4 | 27.6 | 39.2 | 67 | 3.11 | 36.3 | 30.5 | 1.529 | AVAILABLE | SAFE | 28.8476 | Low Risk
BAT-014 | LFP | 48 | 40 | 73 | 86.7 | 38.2 | 53 | 294 | 4.16 | 23.3 | 38.8 | 1.216 | AVAILABLE | SAFE | 39.6572 | Moderate Risk
BAT-015 | LFP | 48 | 40 | 100 | 90.4 | 32.7 | 46.8 | 197 | 2.23 | 45.4 | 33.1 | 1.735 | AVAILABLE | SAFE | 35.4812 | Moderate Risk
BAT-016 | LFP | 48 | 40 | 58.4 | 84.1 | 33.1 | 61.5 | 567 | 3.17 | 57.7 | 34.2 | 0.943 | AVAILABLE | DEGRADE/USE | 50.8696 | Moderate Risk
BAT-017 | LFP | 48 | 40 | 59.1 | 76.4 | 31 | 59.4 | 667 | 4.21 | 55.2 | 31.9 | 0.866 | AVAILABLE | DEGRADE/USE | 57.7687 | Moderate Risk
BAT-018 | LFP | 48 | 40 | 90.4 | 72.1 | 24.7 | 68 | 1097 | 4.16 | 65.7 | 31.8 | 1.251 | AVAILABLE | DEGRADE/USE | 67.4576 | High Risk
BAT-019 | LFP | 48 | 40 | 52.1 | 72.7 | 26.9 | 67.8 | 1184 | 1.7 | 65.4 | 31.1 | 0.727 | AVAILABLE | DEGRADE/USE | 65.2808 | High Risk
BAT-020 | LFP | 48 | 40 | 86.3 | 71.7 | 26.7 | 70.1 | 1001 | 2.92 | 59.7 | 29.1 | 1.188 | AVAILABLE | DEGRADE/USE | 65.691 | High Risk
BAT-021 | LFP | 48 | 40 | 40 | 86.4 | 37.6 | 53.6 | 729 | 2.48 | 39.6 | 39.9 | 0.663 | AVAILABLE | SAFE | 44.2651 | Moderate Risk
BAT-022 | LFP | 48 | 40 | 52.3 | 65.3 | 31.7 | 81.6 | 1529 | 0.78 | 54.4 | 32.1 | 0.655 | AVAILABLE | ISOLATE | 75.5854 | High Risk | High IR;
BAT-023 | LFP | 48 | 40 | 68.6 | 91.9 | 33.8 | 52.1 | 623 | 1.16 | 10.5 | 38.6 | 1.209 | AVAILABLE | SAFE | 30.4735 | Low Risk
BAT-024 | LFP | 48 | 40 | 63.9 | 79.9 | 33.6 | 59.5 | 681 | 0.6 | 39.1 | 39.7 | 0.981 | AVAILABLE | DEGRADE/USE | 48.5115 | Moderate Risk
BAT-025 | LFP | 48 | 40 | 100 | 88.3 | 33.5 | 50.8 | 666 | 1.27 | 26 | 41.5 | 1.695 | AVAILABLE | SAFE | 36.6811 | Moderate Risk
BAT-026 | LFP | 48 | 40 | 53 | 63.9 | 39.9 | 80.4 | 1505 | 4.8 | 81.5 | 44 | 0.65 | REVIEW/QUARANTINE | ISOLATE | 87.4071 | High Risk | High IR; High Imbalance;
BAT-027 | LFP | 48 | 40 | 71.4 | 58 | 35.8 | 88.3 | 1580 | 4.55 | 89.2 | 36.4 | 0.795 | REVIEW/QUARANTINE | ISOLATE | 93.9528 | High Risk | Low SOH; High IR; High Imbalance;
BAT-028 | LFP | 48 | 40 | 75.1 | 63.4 | 33 | 79.6 | 1485 | 4.15 | 85.1 | 36.2 | 0.915 | REVIEW/QUARANTINE | ISOLATE | 86.1874 | High Risk | High IR; High Imbalance;
BAT-029 | LFP | 48 | 40 | 69.9 | 71.2 | 32.3 | 73.9 | 954 | 4.26 | 63.5 | 40.1 | 0.956 | AVAILABLE | DEGRADE/USE | 70.1103 | High Risk
BAT-030 | LFP | 48 | 40 | 94.6 | 67.1 | 38.8 | 77.5 | 1156 | 4.61 | 71.1 | 40.7 | 1.218 | AVAILABLE | DEGRADE/USE | 79.1303 | High Risk
BAT-031 | LFP | 48 | 40 | 60.7 | 88.2 | 22.6 | 55.7 | 681 | 1.1 | 37.3 | 24.1 | 1.028 | AVAILABLE | SAFE | 38.6135 | Moderate Risk
BAT-032 | LFP | 48 | 40 | 61.8 | 89.2 | 38.2 | 47.4 | 70 | 2.99 | 23.4 | 45.3 | 1.057 | AVAILABLE | ISOLATE | 33.3642 | Low Risk | Sustained Heat 24h;
BAT-033 | LFP | 48 | 40 | 52.4 | 72.8 | 28.9 | 70.4 | 962 | 2.01 | 52.1 | 36.1 | 0.733 | AVAILABLE | DEGRADE/USE | 62.5781 | Moderate Risk
BAT-034 | LFP | 48 | 40 | 89.5 | 78 | 34 | 60.5 | 1283 | 1.12 | 45.3 | 36.9 | 1.341 | AVAILABLE | DEGRADE/USE | 56.0543 | Moderate Risk
BAT-035 | LFP | 48 | 40 | 93 | 94 | 51 | 45 | 209 | 0.86 | 6.1 | 37.9 | 1.419 | REVIEW/QUARANTINE | ISOLATE | 26.3362 | Low Risk | High Temp;
BAT-036 | LFP | 48 | 40 | 77.5 | 65.2 | 31.7 | 74.5 | 1445 | 4.37 | 69.2 | 37.4 | 0.971 | AVAILABLE | DEGRADE/USE | 79.7257 | High Risk
BAT-037 | LFP | 48 | 40 | 76.3 | 76.6 | 30.3 | 65.8 | 887 | 3.26 | 51.3 | 35.2 | 1.123 | AVAILABLE | DEGRADE/USE | 58.8765 | Moderate Risk
BAT-038 | LFP | 48 | 40 | 50 | 79.5 | 18 | 59.1 | 857 | 3.6 | 38.5 | 23.3 | 0.763 | AVAILABLE | DEGRADE/USE | 51.0104 | Moderate Risk
BAT-039 | LFP | 48 | 40 | 82 | 67.5 | 25.8 | 70.5 | 1371 | 4.48 | 61.8 | 26.3 | 1.062 | AVAILABLE | DEGRADE/USE | 73.5896 | High Risk
BAT-040 | LFP | 48 | 40 | 78.4 | 91.2 | 27.3 | 51.6 | 347 | 1.11 | 21.6 | 34.7 | 1.373 | AVAILABLE | SAFE | 30.0921 | Low Risk
BAT-041 | LFP | 48 | 40 | 100 | 60.3 | 24.7 | 89.9 | 1551 | 4.97 | 93.4 | 27.2 | 1.158 | REVIEW/QUARANTINE | ISOLATE | 93.0535 | High Risk | High IR; High Imbalance;
BAT-042 | LFP | 48 | 40 | 80.5 | 92.4 | 22 | 50.3 | 322 | 2.56 | 37.9 | 25.5 | 1.428 | AVAILABLE | SAFE | 32.7747 | Low Risk
BAT-043 | LFP | 48 | 40 | 56.6 | 79.2 | 33.9 | 65.5 | 1196 | 1.85 | 41.2 | 38.2 | 0.861 | AVAILABLE | DEGRADE/USE | 55.7394 | Moderate Risk
BAT-044 | LFP | 48 | 40 | 66.1 | 67.6 | 26.1 | 68.7 | 1358 | 4.7 | 80 | 28.2 | 0.858 | AVAILABLE | ISOLATE | 76.8408 | High Risk | High Imbalance;
BAT-045 | LFP | 48 | 40 | 100 | 87.2 | 31.8 | 55.6 | 1058 | 1.45 | 34 | 33.1 | 1.674 | AVAILABLE | SAFE | 42.8669 | Moderate Risk
BAT-046 | LFP | 48 | 40 | 48.4 | 88.9 | 37.2 | 59.2 | 176 | 4.32 | 21.8 | 43.9 | 0.827 | AVAILABLE | SAFE | 38.3769 | Moderate Risk
BAT-047 | LFP | 48 | 40 | 45.3 | 78.5 | 25.8 | 69.5 | 1119 | 0.98 | 47.8 | 31.8 | 0.682 | AVAILABLE | DEGRADE/USE | 55.8118 | Moderate Risk
BAT-048 | LFP | 48 | 40 | 76.9 | 82.4 | 30.3 | 58.8 | 892 | 3.08 | 36.3 | 37.7 | 1.217 | AVAILABLE | SAFE | 48.7083 | Moderate Risk
BAT-049 | LFP | 48 | 40 | 100 | 66 | 36.9 | 83.1 | 1586 | 3.18 | 65.4 | 39.1 | 1.267 | AVAILABLE | ISOLATE | 81.3858 | High Risk | High IR;
BAT-050 | LFP | 48 | 40 | 73.6 | 90.8 | 29.6 | 47.5 | 357 | 1.8 | 14.7 | 37.4 | 1.283 | AVAILABLE | SAFE | 29.1357 | Low Risk
BAT-051 | LFP | 48 | 40 | 49.1 | 85.8 | 29.3 | 52.8 | 382 | 3.13 | 38.1 | 35.5 | 0.808 | AVAILABLE | SAFE | 41.0892 | Moderate Risk
BAT-052 | LFP | 48 | 40 | 100 | 82.9 | 20.5 | 60.2 | 509 | 4.71 | 27.2 | 26.7 | 1.591 | AVAILABLE | SAFE | 45.016 | Moderate Risk
BAT-053 | LFP | 48 | 40 | 57.2 | 66.7 | 37.9 | 78.7 | 1347 | 1.99 | 64.9 | 43.7 | 0.732 | AVAILABLE | ISOLATE | 76.9674 | High Risk | High IR;
BAT-054 | LFP | 48 | 40 | 88.5 | 68.1 | 29.9 | 71.8 | 1564 | 0.77 | 73.5 | 30.6 | 1.157 | AVAILABLE | DEGRADE/USE | 74.0819 | High Risk
BAT-055 | LFP | 48 | 40 | 100 | 64 | 24.4 | 78.6 | 1550 | 2.4 | 92.3 | 31.1 | 1.229 | REVIEW/QUARANTINE | ISOLATE | 83.8808 | High Risk | High IR; High Imbalance;
BAT-056 | LFP | 48 | 40 | 74.1 | 83.5 | 35.3 | 62.5 | 471 | 0.69 | 39.4 | 37 | 1.188 | AVAILABLE | SAFE | 45.3724 | Moderate Risk
BAT-057 | LFP | 48 | 40 | 84.2 | 75.9 | 28.9 | 63.5 | 1153 | 3.36 | 55.2 | 32.4 | 1.226 | AVAILABLE | DEGRADE/USE | 61.1126 | Moderate Risk
BAT-058 | LFP | 48 | 40 | 100 | 71.6 | 30.7 | 71.6 | 1106 | 3.75 | 68.9 | 35.1 | 1.374 | AVAILABLE | DEGRADE/USE | 70.3214 | High Risk
BAT-059 | LFP | 48 | 40 | 46.9 | 87 | 27.7 | 54.8 | 534 | 0.37 | 32.6 | 35.4 | 0.783 | AVAILABLE | SAFE | 37.3647 | Moderate Risk
BAT-060 | LFP | 48 | 40 | 87.8 | 70.5 | 34.7 | 77 | 1237 | 4.19 | 76.2 | 34.7 | 1.189 | AVAILABLE | DEGRADE/USE | 76.3026 | High Risk
BAT-061 | LFP | 48 | 40 | 95.6 | 70.1 | 34.4 | 72.2 | 1063 | 3.49 | 43.1 | 35.1 | 1.287 | AVAILABLE | DEGRADE/USE | 66.8518 | High Risk
BAT-062 | LFP | 48 | 40 | 97.1 | 89.3 | 28.7 | 52 | 489 | 2.34 | 33.1 | 32.8 | 1.664 | AVAILABLE | SAFE | 36.5632 | Moderate Risk
BAT-063 | LFP | 48 | 40 | 64 | 93.4 | 31.1 | 51.7 | 577 | 0.23 | 14.3 | 33.1 | 1.149 | AVAILABLE | SAFE | 28.0524 | Low Risk
BAT-064 | LFP | 48 | 40 | 81.2 | 88.7 | 38.7 | 48.8 | 268 | 1.06 | 32.3 | 45.5 | 1.383 | AVAILABLE | ISOLATE | 35.3781 | Moderate Risk | Sustained Heat 24h;
BAT-065 | LFP | 48 | 40 | 60.9 | 86.9 | 31.8 | 50 | 663 | 2.39 | 46.3 | 37.8 | 1.017 | AVAILABLE | SAFE | 42.5051 | Moderate Risk
BAT-066 | LFP | 48 | 40 | 60.4 | 70 | 28.7 | 65.6 | 1244 | 4.1 | 64.7 | 34 | 0.813 | AVAILABLE | DEGRADE/USE | 70.0272 | High Risk
BAT-067 | LFP | 48 | 40 | 53.8 | 85.4 | 38 | 58.6 | 955 | 0.42 | 32.5 | 45.6 | 0.883 | AVAILABLE | ISOLATE | 44.5415 | Moderate Risk | Sustained Heat 24h;
BAT-068 | LFP | 48 | 40 | 84.7 | 80.1 | 27.8 | 58.8 | 747 | 3.55 | 47.1 | 34.6 | 1.301 | AVAILABLE | SAFE | 51.9446 | Moderate Risk
BAT-069 | LFP | 48 | 40 | 76.2 | 72.7 | 31.4 | 66.8 | 1342 | 0.28 | 55.2 | 36.4 | 1.063 | AVAILABLE | DEGRADE/USE | 63.4306 | Moderate Risk
BAT-070 | LFP | 48 | 40 | 94.7 | 80.8 | 25 | 51.2 | 489 | 2.75 | 45.6 | 25.7 | 1.47 | AVAILABLE | SAFE | 45.9485 | Moderate Risk
BAT-071 | LFP | 48 | 40 | 25.2 | 87.5 | 26.6 | 50.3 | 332 | 1.56 | 29.1 | 27.7 | 0.424 | AVAILABLE | SAFE | 34.6847 | Low Risk
BAT-072 | LFP | 48 | 40 | 54.7 | 83.9 | 28.2 | 51.8 | 370 | 3.94 | 32 | 32.9 | 0.881 | AVAILABLE | SAFE | 41.7689 | Moderate Risk
BAT-073 | LFP | 48 | 40 | 78.8 | 88.3 | 33.8 | 50 | 723 | 0.94 | 18.2 | 34.2 | 1.336 | AVAILABLE | SAFE | 34.9851 | Low Risk
BAT-074 | LFP | 48 | 40 | 100 | 65.1 | 36.2 | 76.6 | 1574 | 4.28 | 78.5 | 43.7 | 1.249 | AVAILABLE | DEGRADE/USE | 83.8728 | High Risk
BAT-075 | LFP | 48 | 40 | 58.2 | 77 | 28.8 | 64.7 | 903 | 3.84 | 48.5 | 35.6 | 0.861 | AVAILABLE | DEGRADE/USE | 58.041 | Moderate Risk
BAT-076 | LFP | 48 | 40 | 37.4 | 75.9 | 34.8 | 74 | 1048 | 4.88 | 41.3 | 37.1 | 0.545 | AVAILABLE | DEGRADE/USE | 63.2931 | Moderate Risk
BAT-077 | LFP | 48 | 40 | 60.9 | 64.4 | 30.5 | 73.6 | 1354 | 2.82 | 62.6 | 37.7 | 0.753 | REVIEW/QUARANTINE | DEGRADE/USE | 76.4969 | High Risk
BAT-078 | LFP | 48 | 40 | 71 | 78.5 | 34.5 | 62.4 | 855 | 1.26 | 49.3 | 39.5 | 1.07 | AVAILABLE | DEGRADE/USE | 54.5096 | Moderate Risk
BAT-079 | LFP | 48 | 40 | 88.7 | 72.2 | 27.1 | 67.3 | 932 | 3.77 | 51.7 | 31.3 | 1.23 | AVAILABLE | DEGRADE/USE | 63.3744 | Moderate Risk
BAT-080 | LFP | 48 | 40 | 95 | 90.8 | 32.4 | 47.3 | 218 | 2.77 | 28.2 | 37.1 | 1.655 | AVAILABLE | SAFE | 32.4414 | Low Risk
BAT-081 | LFP | 48 | 40 | 86.8 | 85.4 | 30.3 | 55.8 | 498 | 0.3 | 46.5 | 38.1 | 1.423 | AVAILABLE | SAFE | 42.0475 | Moderate Risk
BAT-082 | LFP | 48 | 40 | 86 | 88 | 30 | 77.4 | 1463 | 1.07 | 118 | 35.8 | 0.949 | REVIEW/QUARANTINE | ISOLATE | 63.2137 | Moderate Risk | High Imbalance;
BAT-083 | LFP | 48 | 40 | 100 | 80 | 43.5 | 61.8 | 1195 | 1.35 | 49.3 | 43.7 | 1.535 | AVAILABLE | SAFE | 57.0454 | Moderate Risk
BAT-084 | LFP | 48 | 40 | 59.1 | 86 | 32.5 | 55.5 | 559 | 3.52 | 50 | 36.3 | 0.976 | AVAILABLE | SAFE | 46.1804 | Moderate Risk
BAT-085 | LFP | 48 | 40 | 72.8 | 78.2 | 38.1 | 66.6 | 975 | 4.49 | 34.7 | 39.4 | 1.093 | AVAILABLE | DEGRADE/USE | 57.7187 | Moderate Risk
BAT-086 | LFP | 48 | 40 | 84.5 | 73.4 | 36.4 | 69.6 | 1273 | 1 | 51.9 | 43.4 | 1.191 | AVAILABLE | DEGRADE/USE | 64.2246 | Moderate Risk
BAT-087 | LFP | 48 | 40 | 62.7 | 89.9 | 23.5 | 47.8 | 123 | 2.37 | 29.9 | 30.4 | 1.083 | AVAILABLE | SAFE | 31.234 | Low Risk
BAT-088 | LFP | 48 | 40 | 68.4 | 68.2 | 33.1 | 74.8 | 1452 | 3.23 | 71.4 | 33.2 | 0.896 | AVAILABLE | DEGRADE/USE | 76.8078 | High Risk
BAT-089 | LFP | 48 | 40 | 85.6 | 80.4 | 36.5 | 61.6 | 465 | 4.23 | 30.8 | 41.7 | 1.321 | AVAILABLE | SAFE | 49.8574 | Moderate Risk
BAT-090 | LFP | 48 | 40 | 55.1 | 84.4 | 23.4 | 48.4 | 361 | 4.41 | 47.8 | 25.6 | 0.893 | AVAILABLE | SAFE | 43.3207 | Moderate Risk
BAT-091 | LFP | 48 | 40 | 69.3 | 68.7 | 27.1 | 78.2 | 1447 | 2.45 | 71.7 | 34.8 | 0.914 | AVAILABLE | ISOLATE | 75.3635 | High Risk | High IR;
BAT-092 | LFP | 48 | 40 | 69.9 | 71.4 | 48.3 | 72.2 | 1565 | 1.03 | 64.9 | 49.8 | 0.959 | REVIEW/QUARANTINE | ISOLATE | 73.5318 | High Risk | Sustained Heat 24h; High Temp;
BAT-093 | LFP | 48 | 40 | 100 | 96.7 | 31.6 | 45.7 | 300 | 1.14 | 20.4 | 33 | 1.857 | AVAILABLE | SAFE | 23.9969 | Low Risk
BAT-094 | LFP | 48 | 40 | 89.4 | 71.9 | 29 | 71.9 | 1434 | 3.28 | 56 | 35.4 | 1.233 | AVAILABLE | DEGRADE/USE | 68.8022 | High Risk
BAT-095 | LFP | 48 | 40 | 59.7 | 81.5 | 31.3 | 53.7 | 896 | 2.62 | 52.7 | 39.1 | 0.934 | AVAILABLE | DEGRADE/USE | 51.1242 | Moderate Risk
BAT-096 | LFP | 48 | 40 | 88.2 | 81.8 | 26.9 | 56.2 | 923 | 0.49 | 44.7 | 29.9 | 1.385 | AVAILABLE | SAFE | 47.1149 | Moderate Risk
BAT-097 | LFP | 48 | 40 | 52.6 | 78.6 | 31.7 | 63.1 | 775 | 4.77 | 45.5 | 38 | 0.793 | AVAILABLE | DEGRADE/USE | 56.3065 | Moderate Risk
BAT-098 | LFP | 48 | 40 | 81.8 | 71.1 | 32.3 | 65.7 | 1169 | 3.37 | 67.2 | 33 | 1.116 | AVAILABLE | DEGRADE/USE | 69.1138 | High Risk
BAT-099 | LFP | 48 | 40 | 41.1 | 71.7 | 29.8 | 76.9 | 963 | 4.1 | 51.2 | 33.7 | 0.566 | AVAILABLE | DEGRADE/USE | 67.4424 | High Risk
BAT-100 | LFP | 48 | 40 | 87.9 | 82.9 | 38.3 | 52.3 | 472 | 2 | 37 | 44.4 | 1.399 | AVAILABLE | SAFE | 44.5003 | Moderate Risk
BAT-101 | LFP | 48 | 40 | 70.4 | 88.9 | 39.7 | 59.4 | 243 | 2.51 | 26.1 | 44.8 | 1.201 | AVAILABLE | SAFE | 38.4012 | Moderate Risk
BAT-102 | LFP | 48 | 40 | 47.4 | 76.8 | 36.4 | 66.6 | 1168 | 1.86 | 54 | 41.4 | 0.7 | AVAILABLE | DEGRADE/USE | 61.04 | Moderate Risk
BAT-103 | LFP | 48 | 40 | 81.9 | 89 | 27.3 | 54 | 607 | 1.12 | 26.7 | 34.2 | 1.398 | AVAILABLE | SAFE | 35.3387 | Moderate Risk
BAT-104 | LFP | 48 | 40 | 90.3 | 78.2 | 28.6 | 57.8 | 712 | 4.6 | 51.4 | 29 | 1.355 | AVAILABLE | DEGRADE/USE | 55.1806 | Moderate Risk
BAT-105 | LFP | 48 | 40 | 81.3 | 65.2 | 24.5 | 77.2 | 1549 | 4.37 | 60.3 | 25.3 | 1.018 | AVAILABLE | DEGRADE/USE | 78.0057 | High Risk
BAT-106 | LFP | 48 | 40 | 77.2 | 82.7 | 33.2 | 56.7 | 547 | 2.9 | 30 | 38.9 | 1.225 | AVAILABLE | SAFE | 44.8462 | Moderate Risk
BAT-107 | LFP | 48 | 40 | 47.9 | 98.2 | 28.8 | 47.4 | 180 | 1.84 | 17.7 | 31.5 | 0.904 | AVAILABLE | SAFE | 22.0067 | Low Risk
BAT-108 | LFP | 48 | 40 | 89.6 | 77 | 28.4 | 74.8 | 1127 | 1.6 | 51.3 | 28.6 | 1.325 | AVAILABLE | DEGRADE/USE | 60.4865 | Moderate Risk
BAT-109 | LFP | 48 | 40 | 31.1 | 74 | 27.8 | 77.5 | 1303 | 0.83 | 50.1 | 30.3 | 0.442 | AVAILABLE | DEGRADE/USE | 63.8315 | Moderate Risk
BAT-110 | LFP | 48 | 40 | 62.5 | 83.5 | 32.3 | 45.8 | 637 | 3.57 | 42.6 | 37 | 1.002 | AVAILABLE | SAFE | 44.691 | Moderate Risk
BAT-111 | LFP | 48 | 40 | 100 | 73.7 | 31.9 | 69.2 | 1393 | 0.41 | 60.7 | 37.9 | 1.415 | AVAILABLE | DEGRADE/USE | 64.871 | Moderate Risk
BAT-112 | LFP | 48 | 40 | 46.5 | 74.4 | 25.4 | 62.1 | 1139 | 3.1 | 65.9 | 27.9 | 0.664 | AVAILABLE | DEGRADE/USE | 63.1287 | Moderate Risk
BAT-113 | LFP | 48 | 40 | 38.7 | 89.8 | 38.8 | 50.1 | 396 | 3.81 | 32.8 | 40.7 | 0.668 | AVAILABLE | SAFE | 38.4467 | Moderate Risk
BAT-114 | LFP | 48 | 40 | 55.4 | 72.5 | 32 | 68.2 | 1368 | 0.23 | 53.1 | 39.3 | 0.772 | AVAILABLE | DEGRADE/USE | 63.8069 | Moderate Risk
BAT-115 | LFP | 48 | 40 | 80.9 | 77.8 | 24.3 | 56.3 | 837 | 3.2 | 51.2 | 24.9 | 1.208 | AVAILABLE | DEGRADE/USE | 53.7351 | Moderate Risk
BAT-116 | LFP | 48 | 40 | 71.9 | 84.8 | 35.4 | 50.5 | 462 | 3.22 | 47.9 | 42.1 | 1.17 | AVAILABLE | SAFE | 45.0953 | Moderate Risk
BAT-117 | LFP | 48 | 40 | 93 | 79.4 | 26.9 | 65.7 | 1091 | 0.62 | 53.3 | 27.2 | 1.417 | AVAILABLE | DEGRADE/USE | 54.7537 | Moderate Risk
BAT-118 | LFP | 48 | 40 | 74.4 | 92 | 40.3 | 47.3 | 362 | 3.68 | 19.3 | 47.9 | 1.314 | AVAILABLE | ISOLATE | 33.0014 | Low Risk | Sustained Heat 24h;
BAT-119 | LFP | 48 | 40 | 52.8 | 90.1 | 37.9 | 47.1 | 575 | 1.2 | 39.6 | 45.6 | 0.914 | AVAILABLE | ISOLATE | 37.0396 | Moderate Risk | Sustained Heat 24h;
BAT-120 | LFP | 48 | 40 | 91.5 | 89.7 | 33.9 | 51.1 | 539 | 2.34 | 22.6 | 39.4 | 1.576 | AVAILABLE | SAFE | 35.2157 | Moderate Risk
BAT-121 | LFP | 48 | 40 | 62.3 | 82.4 | 42.9 | 53.9 | 392 | 1.48 | 40.7 | 50.7 | 0.985 | AVAILABLE | ISOLATE | 46.0222 | Moderate Risk | Sustained Heat 24h;
BAT-122 | LFP | 48 | 40 | 86.4 | 87.6 | 26.7 | 56 | 701 | 0.72 | 16.2 | 27.9 | 1.454 | AVAILABLE | SAFE | 35.0868 | Moderate Risk
BAT-123 | LFP | 48 | 40 | 100 | 64.6 | 32.7 | 77.7 | 1580 | 3.98 | 75.2 | 36.6 | 1.241 | REVIEW/QUARANTINE | DEGRADE/USE | 82.9933 | High Risk
BAT-124 | LFP | 48 | 40 | 83.3 | 73.8 | 29.9 | 74.1 | 1176 | 3.43 | 60.8 | 36.9 | 1.18 | AVAILABLE | DEGRADE/USE | 67.4283 | High Risk
BAT-125 | LFP | 48 | 40 | 98.8 | 73 | 26.7 | 60.2 | 1067 | 4.02 | 57.3 | 34 | 1.385 | AVAILABLE | DEGRADE/USE | 62.836 | Moderate Risk
BAT-126 | LFP | 48 | 40 | 49.7 | 80.5 | 24.7 | 62.9 | 722 | 2.36 | 45.8 | 25.3 | 0.768 | AVAILABLE | SAFE | 50.5672 | Moderate Risk
BAT-127 | LFP | 48 | 40 | 65.2 | 80.5 | 36.8 | 59.2 | 1045 | 1.53 | 39.1 | 44 | 1.007 | AVAILABLE | SAFE | 51.7482 | Moderate Risk
BAT-128 | LFP | 48 | 40 | 77.1 | 72.4 | 30 | 63.8 | 1121 | 3.51 | 65.1 | 36.5 | 1.072 | AVAILABLE | DEGRADE/USE | 66.4085 | High Risk
BAT-129 | LFP | 48 | 40 | 50.6 | 90.6 | 26.4 | 44.9 | 321 | 1.92 | 22.8 | 31.3 | 0.879 | AVAILABLE | SAFE | 29.4635 | Low Risk
BAT-130 | LFP | 48 | 40 | 99.6 | 62.7 | 28.5 | 81.9 | 1592 | 3.5 | 83.2 | 31.7 | 1.199 | REVIEW/QUARANTINE | ISOLATE | 86.1775 | High Risk | High IR; High Imbalance;
BAT-131 | LFP | 48 | 40 | 97.8 | 92.8 | 46.7 | 50 | 282 | 0.85 | 27.7 | 53 | 1.742 | AVAILABLE | ISOLATE | 32.6814 | Low Risk | Sustained Heat 24h; High Temp;
BAT-132 | LFP | 48 | 40 | 82.9 | 90.8 | 31.3 | 47.3 | 404 | 1.88 | 28.2 | 33 | 1.445 | AVAILABLE | SAFE | 32.4939 | Low Risk
BAT-133 | LFP | 48 | 40 | 85.5 | 82.7 | 27.6 | 57.7 | 637 | 4.25 | 45.1 | 33.9 | 1.357 | AVAILABLE | SAFE | 48.9365 | Moderate Risk
BAT-134 | LFP | 48 | 40 | 71.3 | 75.1 | 30 | 65 | 1223 | 1.46 | 58.5 | 30.8 | 1.028 | AVAILABLE | DEGRADE/USE | 61.6468 | Moderate Risk
BAT-135 | LFP | 48 | 40 | 53 | 93 | 37.1 | 44.3 | 283 | 1.18 | 22.2 | 37.5 | 0.947 | AVAILABLE | SAFE | 28.2393 | Low Risk
BAT-136 | LFP | 48 | 40 | 61.8 | 81.4 | 30.6 | 69.4 | 783 | 2.06 | 30.7 | 36.1 | 0.965 | AVAILABLE | SAFE | 49.7665 | Moderate Risk
BAT-137 | LFP | 48 | 40 | 68.9 | 72 | 30.2 | 74.4 | 1481 | 2.1 | 76.8 | 36.5 | 0.952 | AVAILABLE | DEGRADE/USE | 72.9229 | High Risk
BAT-138 | LFP | 48 | 40 | 78.3 | 84.8 | 30.8 | 63.8 | 692 | 0.81 | 59.9 | 38.5 | 1.275 | AVAILABLE | DEGRADE/USE | 49.2972 | Moderate Risk
BAT-139 | LFP | 48 | 40 | 71.2 | 68.9 | 28.5 | 72.6 | 1419 | 2.42 | 70 | 30.9 | 0.942 | AVAILABLE | DEGRADE/USE | 73.3679 | High Risk
BAT-140 | LFP | 48 | 40 | 79.3 | 80.1 | 29.8 | 63.6 | 978 | 1.42 | 40.6 | 37 | 1.219 | AVAILABLE | SAFE | 51.6917 | Moderate Risk
BAT-141 | LFP | 48 | 40 | 48.1 | 65.6 | 38 | 77.8 | 1300 | 4.96 | 76 | 38.4 | 0.605 | AVAILABLE | DEGRADE/USE | 82.5961 | High Risk
BAT-142 | LFP | 48 | 40 | 59.2 | 92.4 | 30 | 52.6 | 224 | 2.32 | 13 | 35.6 | 1.05 | AVAILABLE | SAFE | 28.5811 | Low Risk
BAT-143 | LFP | 48 | 40 | 77.2 | 90.5 | 30.7 | 51 | 656 | 1.44 | 34.2 | 36.9 | 1.341 | AVAILABLE | SAFE | 35.9992 | Moderate Risk
BAT-144 | LFP | 48 | 40 | 62 | 97 | 28 | 39 | 531 | 0.44 | 14 | 21.1 | 1.597 | AVAILABLE | SAFE | 20.6171 | Low Risk
BAT-145 | LFP | 48 | 40 | 42.1 | 84.1 | 34.6 | 57.9 | 687 | 4.08 | 45.1 | 37.9 | 0.68 | AVAILABLE | SAFE | 49.3096 | Moderate Risk
BAT-146 | LFP | 48 | 40 | 80.5 | 89.9 | 37.3 | 48.5 | 467 | 2.34 | 35.2 | 41.6 | 1.389 | AVAILABLE | SAFE | 37.0685 | Moderate Risk
BAT-147 | LFP | 48 | 40 | 88.2 | 86.5 | 27.7 | 49.5 | 647 | 1.32 | 18.2 | 28.2 | 1.465 | AVAILABLE | SAFE | 35.1063 | Moderate Risk
BAT-148 | LFP | 48 | 40 | 72.7 | 81.8 | 33.5 | 56.7 | 992 | 1.31 | 41.7 | 40.5 | 1.142 | AVAILABLE | SAFE | 49.225 | Moderate Risk
BAT-149 | LFP | 48 | 40 | 75.6 | 83.4 | 25.6 | 61.5 | 771 | 3.65 | 30 | 26.8 | 1.21 | AVAILABLE | SAFE | 46.1971 | Moderate Risk
BAT-150 | LFP | 48 | 40 | 66.1 | 84.8 | 32.7 | 53.7 | 390 | 2.91 | 55.1 | 38.8 | 1.077 | AVAILABLE | DEGRADE/USE | 46.1242 | Moderate Risk
BAT-151 | LFP | 48 | 40 | 73.2 | 90.2 | 32.9 | 50.4 | 427 | 2.26 | 29 | 39.6 | 1.268 | AVAILABLE | SAFE | 34.8837 | Low Risk
BAT-152 | LFP | 48 | 40 | 66.7 | 100 | 19.9 | 42.4 | 113 | 0.81 | 9.4 | 24.8 | 1.281 | AVAILABLE | SAFE | 15.174 | Low Risk
BAT-153 | LFP | 48 | 40 | 44.6 | 95.9 | 36.5 | 49.4 | 42 | 0.66 | 24.7 | 44.5 | 0.822 | AVAILABLE | SAFE | 25.4722 | Low Risk
BAT-154 | LFP | 48 | 40 | 100 | 98.5 | 37.6 | 35.1 | 103 | 1.96 | 24.9 | 42.9 | 1.892 | AVAILABLE | SAFE | 21.1663 | Low Risk
BAT-155 | LFP | 48 | 40 | 80.2 | 92.5 | 30.3 | 45.8 | 462 | 0.69 | 31.8 | 37.7 | 1.426 | AVAILABLE | SAFE | 30.2822 | Low Risk
BAT-156 | LFP | 48 | 40 | 63.8 | 74.9 | 25.6 | 61.4 | 1248 | 0.23 | 50.9 | 31.6 | 0.917 | AVAILABLE | DEGRADE/USE | 57.3481 | Moderate Risk
BAT-157 | LFP | 48 | 40 | 99.9 | 65.8 | 31 | 78.6 | 1544 | 4.01 | 77.4 | 37.8 | 1.262 | AVAILABLE | ISOLATE | 82.0983 | High Risk | High IR;
BAT-158 | LFP | 48 | 40 | 68.7 | 74 | 30.3 | 68.1 | 1106 | 1.01 | 64.4 | 33.7 | 0.976 | AVAILABLE | DEGRADE/USE | 63.5292 | Moderate Risk
BAT-159 | LFP | 48 | 40 | 86.5 | 82.4 | 35.7 | 59.7 | 347 | 3.96 | 41.5 | 40.8 | 1.368 | AVAILABLE | SAFE | 48.5521 | Moderate Risk
BAT-160 | LFP | 48 | 40 | 41.5 | 67.6 | 30.8 | 69.5 | 1365 | 1.72 | 77.5 | 33.7 | 0.539 | AVAILABLE | DEGRADE/USE | 74.5668 | High Risk
BAT-161 | LFP | 48 | 40 | 62.4 | 91.1 | 30.4 | 46.5 | 276 | 2.47 | 21.9 | 36 | 1.091 | AVAILABLE | SAFE | 30.3592 | Low Risk
BAT-162 | LFP | 48 | 40 | 95.1 | 71.3 | 36.1 | 63.2 | 1096 | 4.03 | 69.8 | 36.4 | 1.301 | AVAILABLE | DEGRADE/USE | 69.7281 | High Risk
BAT-163 | LFP | 48 | 40 | 100 | 88.1 | 34.4 | 55 | 196 | 3.1 | 44.8 | 36.6 | 1.692 | AVAILABLE | SAFE | 40.8553 | Moderate Risk
BAT-164 | LFP | 48 | 40 | 100 | 91.5 | 31.6 | 45.6 | 121 | 2.42 | 32.2 | 39.1 | 1.758 | AVAILABLE | SAFE | 31.0404 | Low Risk
BAT-165 | LFP | 48 | 40 | 100 | 86.6 | 27.7 | 50.6 | 568 | 1.55 | 28.8 | 33.8 | 1.662 | AVAILABLE | SAFE | 37.1806 | Moderate Risk
BAT-166 | LFP | 48 | 40 | 100 | 77.8 | 27.3 | 65.2 | 1133 | 0.48 | 57.4 | 30.6 | 1.493 | AVAILABLE | DEGRADE/USE | 57.0374 | Moderate Risk
BAT-167 | LFP | 48 | 40 | 60.8 | 73.4 | 27.7 | 72.1 | 984 | 3.74 | 68.9 | 28.8 | 0.857 | AVAILABLE | DEGRADE/USE | 67.5128 | High Risk
BAT-168 | LFP | 48 | 40 | 46.8 | 76.2 | 27.1 | 63 | 893 | 4.14 | 62.6 | 31.4 | 0.684 | AVAILABLE | DEGRADE/USE | 60.9862 | Moderate Risk
BAT-169 | LFP | 48 | 40 | 27.2 | 89.1 | 29.3 | 50.9 | 284 | 1.51 | 24 | 36.8 | 0.465 | AVAILABLE | SAFE | 32.6214 | Low Risk
BAT-170 | LFP | 48 | 40 | 76.3 | 67.6 | 37.1 | 76.8 | 1540 | 1.57 | 71.1 | 42.3 | 0.99 | AVAILABLE | DEGRADE/USE | 77.5183 | High Risk
BAT-171 | LFP | 48 | 40 | 69.5 | 70.5 | 29.5 | 70.7 | 1378 | 4.16 | 67 | 30.2 | 0.94 | AVAILABLE | DEGRADE/USE | 72.5239 | High Risk
BAT-172 | LFP | 48 | 40 | 100 | 93.5 | 29.9 | 41.2 | 398 | 0.27 | 53.9 | 33.2 | 1.794 | AVAILABLE | DEGRADE/USE | 31.6494 | Low Risk
BAT-173 | LFP | 48 | 40 | 69.8 | 70.4 | 20.9 | 68.8 | 1301 | 0.39 | 73.1 | 23.3 | 0.944 | AVAILABLE | DEGRADE/USE | 68.1524 | High Risk
BAT-174 | LFP | 48 | 40 | 100 | 93.4 | 36.4 | 49.3 | 161 | 4.24 | 23.1 | 37.6 | 1.794 | AVAILABLE | SAFE | 31.6157 | Low Risk
BAT-175 | LFP | 48 | 40 | 43.4 | 87.2 | 29.3 | 53.8 | 349 | 2.02 | 47.6 | 36.8 | 0.727 | AVAILABLE | SAFE | 40.7257 | Moderate Risk
BAT-176 | LFP | 48 | 40 | 100 | 77 | 34.4 | 59 | 1339 | 1.99 | 52.8 | 40.6 | 1.479 | AVAILABLE | DEGRADE/USE | 59.3126 | Moderate Risk
BAT-177 | LFP | 48 | 40 | 72.9 | 74.6 | 33.7 | 64.9 | 1232 | 1.81 | 59.2 | 40.5 | 1.045 | AVAILABLE | DEGRADE/USE | 63.3428 | Moderate Risk
BAT-178 | LFP | 48 | 40 | 100 | 87.3 | 27.9 | 55.8 | 699 | 1.55 | 51.7 | 32 | 1.677 | AVAILABLE | DEGRADE/USE | 43.4512 | Moderate Risk
BAT-179 | LFP | 48 | 40 | 93.9 | 77.3 | 33.7 | 64.1 | 581 | 3.48 | 66.6 | 36.3 | 1.394 | AVAILABLE | DEGRADE/USE | 59.8393 | Moderate Risk
BAT-180 | LFP | 48 | 40 | 57.4 | 82.3 | 23.8 | 54.6 | 773 | 0.78 | 48.6 | 29.7 | 0.906 | AVAILABLE | SAFE | 45.9854 | Moderate Risk
BAT-181 | LFP | 48 | 40 | 92.3 | 66.4 | 27.7 | 71 | 1275 | 4.39 | 67.1 | 35.1 | 1.177 | AVAILABLE | DEGRADE/USE | 75.441 | High Risk
BAT-182 | LFP | 48 | 40 | 62.6 | 67.6 | 38.7 | 76.1 | 1158 | 4.97 | 43.7 | 44.5 | 0.812 | AVAILABLE | DEGRADE/USE | 73.1764 | High Risk
BAT-183 | LFP | 48 | 40 | 92.2 | 73 | 26.5 | 76.9 | 918 | 4.06 | 63.3 | 29.4 | 1.293 | AVAILABLE | DEGRADE/USE | 67.7436 | High Risk
BAT-184 | LFP | 48 | 40 | 86.2 | 89.8 | 33.4 | 48.8 | 325 | 1.24 | 23 | 36.5 | 1.487 | AVAILABLE | SAFE | 32.0318 | Low Risk
BAT-185 | LFP | 48 | 40 | 83 | 89 | 31.3 | 46.4 | 166 | 3.82 | 43.5 | 37.4 | 1.419 | AVAILABLE | SAFE | 37.3314 | Moderate Risk
BAT-186 | LFP | 48 | 40 | 71.5 | 76.3 | 27.2 | 60.9 | 743 | 4.25 | 67.1 | 34.8 | 1.047 | AVAILABLE | DEGRADE/USE | 60.4079 | Moderate Risk
BAT-187 | LFP | 48 | 40 | 69.8 | 82.3 | 38.7 | 63 | 879 | 0.75 | 33.4 | 46.5 | 1.103 | AVAILABLE | ISOLATE | 48.6513 | Moderate Risk | Sustained Heat 24h;
BAT-188 | LFP | 48 | 40 | 75.9 | 71.5 | 30.6 | 61.1 | 1291 | 3.14 | 52.4 | 33.4 | 1.042 | AVAILABLE | DEGRADE/USE | 64.7185 | Moderate Risk
BAT-189 | LFP | 48 | 40 | 27.1 | 76.7 | 35 | 62.2 | 904 | 0.86 | 51.3 | 39 | 0.399 | AVAILABLE | DEGRADE/USE | 56.4353 | Moderate Risk
BAT-190 | LFP | 48 | 40 | 94.1 | 75.3 | 41.6 | 65.8 | 966 | 3.32 | 58.9 | 42.1 | 1.36 | AVAILABLE | DEGRADE/USE | 64.3478 | Moderate Risk
BAT-191 | LFP | 48 | 40 | 73.2 | 88.2 | 23.7 | 48.3 | 382 | 1.02 | 43.5 | 25.7 | 1.238 | AVAILABLE | SAFE | 35.8492 | Moderate Risk
BAT-192 | LFP | 48 | 40 | 79 | 72.2 | 30.7 | 79.6 | 1448 | 0.72 | 50.8 | 38 | 1.095 | AVAILABLE | ISOLATE | 67.5061 | High Risk | High IR;
BAT-193 | LFP | 48 | 40 | 56.3 | 88 | 35.8 | 52.6 | 557 | 1.93 | 14.6 | 36.6 | 0.95 | AVAILABLE | SAFE | 35.6024 | Moderate Risk
BAT-194 | LFP | 48 | 40 | 80.7 | 67.3 | 30.7 | 76 | 1389 | 1.74 | 68.7 | 34.4 | 1.043 | AVAILABLE | DEGRADE/USE | 75.0249 | High Risk
BAT-195 | LFP | 48 | 40 | 65.5 | 72.7 | 37.1 | 74.1 | 1108 | 3.08 | 56.8 | 38.1 | 0.914 | AVAILABLE | DEGRADE/USE | 68.2558 | High Risk
BAT-196 | LFP | 48 | 40 | 100 | 88.9 | 34.3 | 50.2 | 466 | 2.72 | 31.2 | 38.8 | 1.708 | AVAILABLE | SAFE | 37.3894 | Moderate Risk
BAT-197 | LFP | 48 | 40 | 46.7 | 80.3 | 32.3 | 52.3 | 822 | 4.05 | 61.6 | 38.1 | 0.719 | AVAILABLE | DEGRADE/USE | 54.7328 | Moderate Risk
BAT-198 | LFP | 48 | 40 | 99.4 | 71.9 | 33.5 | 71.2 | 1281 | 1.72 | 57.9 | 35.8 | 1.372 | AVAILABLE | DEGRADE/USE | 67.3715 | High Risk
BAT-199 | LFP | 48 | 40 | 58.7 | 97.5 | 27.1 | 38.3 | 231 | 0.53 | 26.6 | 34.3 | 1.099 | AVAILABLE | SAFE | 20.5401 | Low Risk
BAT-200 | LFP | 48 | 40 | 81.8 | 75 | 23.3 | 63.7 | 1032 | 3.65 | 55.1 | 27.2 | 1.179 | AVAILABLE | DEGRADE/USE | 60.6894 | Moderate Risk

## Statistics
Fleet Risk Statistics
All values computed live via formulas against the Data sheet.
1. Risk Tier Counts (Hard Cutoff Status)
Status | Count | % of Fleet
SAFE | 84 | 42%
DEGRADE/USE | 91 | 45.5%
ISOLATE | 25 | 12.5%
Total | 200
2. Composite Risk Tier Counts
Status | Count | % of Fleet
Low Risk | 36 | 18%
Moderate Risk | 110 | 55%
High Risk | 54 | 27%
3. Cross-check: Hard Cutoff Status vs Original station_status
| AVAILABLE | REVIEW/QUARANTINE | Total
SAFE | 84 | 0 | 84
DEGRADE/USE | 89 | 2 | 91
ISOLATE | 15 | 10 | 25
Total | 188 | 12 | 200
4. Descriptive Statistics by Key Metric (whole fleet)
Metric | Mean | Median | Std Dev | Min | Max
State of Health (%) | 80.067 | 80.1 | 9.305 | 58 | 100
Internal Resistance (mOhm) | 60.946 | 60.7 | 11.3835 | 33.6 | 89.9
Voltage Imbalance (mV) | 47.636 | 48.2 | 19.5605 | 6.1 | 118
Temperature (C) | 31.4445 | 30.85 | 5.3379 | 18 | 51
Max Temp 24h (C) | 35.5155 | 36.05 | 5.6928 | 21.1 | 53
Cycle Count | 844.49 | 865.5 | 443.3425 | 42 | 1592
Age (years) | 2.446 | 2.365 | 1.3822 | 0.23 | 4.97
State of Charge (%) | 73.693 | 74.75 | 18.4678 | 25.2 | 100
Available Energy (kWh) | 1.1251 | 1.1325 | 0.30834 | 0.399 | 1.892
Composite Risk Score | 52.9273 | 51.7199 | 17.4999 | 15.174 | 93.9528
5. Descriptive Statistics by Hard Cutoff Tier
Metric | SAFE (mean) | DEGRADE/USE (mean) | ISOLATE (mean)
State of Health (%) | 88.0619 | 74.1022 | 74.916
Internal Resistance (mOhm) | 51.8976 | 66.9 | 69.676
Voltage Imbalance (mV) | 31.5762 | 58.8637 | 60.728
Cycle Count | 473.3452 | 1110.3736 | 1123.72
Age (years) | 2.1713 | 2.7268 | 2.3468
Composite Risk Score | 37.5549 | 63.8361 | 64.871
6. Correlation Matrix (Pearson r) -- key numeric features
| SOH | IR | Imbalance | Temp | Cycle | Age | Score
SOH | 1 | -0.9083 | -0.82964 | 0.044347 | -0.89257 | -0.3936 | -0.98356
IR | -0.9083 | 1 | 0.78125 | 0.021922 | 0.86564 | 0.3024 | 0.93669
Imbalance | -0.82964 | 0.78125 | 1 | -0.076911 | 0.78553 | 0.31317 | 0.88967
Temp | 0.044347 | 0.021922 | -0.076911 | 1 | -0.035088 | -0.025518 | 0.014752
Cycle | -0.89257 | 0.86564 | 0.78553 | -0.035088 | 1 | 0.12018 | 0.91004
Age | -0.3936 | 0.3024 | 0.31317 | -0.025518 | 0.12018 | 1 | 0.40457
Score | -0.98356 | 0.93669 | 0.88967 | 0.014752 | 0.91004 | 0.40457 | 1
7. High-Risk Roster (ISOLATE)
Packs flagged ISOLATE | 25
Packs flagged ISOLATE but originally AVAILABLE (recommend manual review) | 15

## Thresholds
Risk Thresholds & Model Assumptions (LFP Battery Fleet)
Blue cells are editable inputs. Data sheet formulas reference these cells directly.
Parameter | Value | Used For | Notes
SOH_safe_min | 80 | Safe tier lower bound (SOH %) | Industry-standard first-life EOL threshold
SOH_isolate_max | 60 | Isolate trigger (SOH % below this) | Common second-life retirement floor
IR_isolate_min | 78 | Isolate trigger (IR mOhm at/above this) | ~95th percentile of fleet; ~2x fresh-pack baseline
Imbalance_safe_max | 50 | Safe tier upper bound (mV) | Typical BMS warning threshold
Imbalance_isolate_min | 80 | Isolate trigger (mV at/above this) | LFP flat OCV curve makes imbalance more meaningful; consider raising to 100 for stricter LFP practice
Temp_isolate_min | 45 | Isolate trigger (instant temp, C, above this) | Relaxed from original 38C -- within normal LFP charge range (up to ~45-55C); LFP thermal runaway onset is far higher than NMC
MaxTemp24h_isolate_min | 45 | Isolate trigger (24h max temp, C, above this) | Flags a sustained heat event in the last 24h
RiskScore_safe_max | 35 | Composite score upper bound for Low Risk | Tunable -- calibrate against real failure/warranty data if available
RiskScore_degrade_max | 65 | Composite score upper bound for Moderate Risk | Above this = High Risk tier
W_SOH | 35 | Composite score weight - SOH deviation | Weights sum to 100; allocated by correlation strength with SOH in this fleet
W_IR | 25 | Composite score weight - internal resistance | r=-0.91 with SOH in this fleet
W_IMB | 20 | Composite score weight - voltage imbalance | r=-0.83 with SOH in this fleet
W_CYC | 10 | Composite score weight - cycle count | Leading indicator; r=-0.89 with SOH, r=0.87 with IR
W_AGE | 5 | Composite score weight - age (years) | Calendar aging, weaker effect (r=-0.39 with SOH)
W_TEMP | 5 | Composite score weight - thermal stress above 25C baseline | Minor weight; LFP is thermally tolerant
Weight sum check (should = 100) | 100